SECTION 11 68 33

ATHLETIC FIELD EQUIPMENT

PART 1 - GENERAL

  - WORK INCLUDED

A. 	Provide all equipment and materials. Do all work necessary to furnish and install the athletic equipment, as indicated on the drawings, and as specified herein.

1.2	RELATED WORK

A.	Examine Contract Documents for requirements that affect work of this section.  Other specification sections that directly relate to work of this Section include, but are not limited to:

- Division 3 – Concrete; Sections; Cast-in-Place Concrete

- Division 31 – Earthwork; Sections: Excavation and Backfill and Establishment of Sub-Grade Elevations

- Division 32 – Exterior Improvements; Sections: Athletic and Recreational Surfacing, Concrete and Asphalt

1.3	REFERENCES

A.	Comply with applicable requirements of the following standards.  Where these standards conflict with other specified requirements, the most restrictive requirements shall govern.

      - Manufacturers Data and Recommended Installation Requirements.

1.4	SUBMITTALS

A.	Shop Drawings & Regulatory Requirements

  - Provide drawings of manufacturers recommended installation and foundation requirements prior to actual field installation work for Architect or Owner’s Representative review and approval.

1.5	QUALITY ASSURANCE

A.	The contractor shall only accept bids from those vendors or manufacturers that have been pre-approved or identified as approved equal.

1.6	DELIVERY, STORAGE AND HANDLING

A.	Materials delivered to the site shall be examined for concealed damage or defects in shipping.  Any defects shall be noted and reported to the Owner’s Representative.

B.	Replacements, if necessary, shall be immediately re-ordered, so as to minimize any conflict with the construction schedule.

C.	Sound materials shall be stored above the ground under protective cover or indoors so as to provide proper protection.

PART 2 - PRODUCTS

  - BASIS OF DESIGN MANUFACTURERS

A.	Manufacturers and product selections named are provided to establish the minimum standard.

- Beacon Athletics (Attn: Bidding Dept – National Sales)

901 Deming Way, Ste 101

Madison, WI 53717

Phone: (800) 747-5985

Fax (608) 836-0724

Email: bids@beaconathletics.com

Website: www.beaconathletics.com

  - PRODUCTS

A.	OUTDOOR BATTING CAGE

1. Basis of Design: Beacon Athletics TUFFframe™ PRO STANDARD 55’ Single Batting Cage (TFP55-1STD)

- Model: TFP55-1STD

- Item#: 105-100-780

- Size: 55’L x 14’H x 14’W

- Quantity: _____

- Contact: Bids Department | bids@beaconathletics.com | 608-824-1573

- Beacon Athletics, 901 Deming Way, Ste 101, Madison, WI 53717

2. Design Criteria

- Poles: Six (6) Heavy-duty 6” Schedule 40, Black Painted Steel Poles (3’ net offset)

- Net: UV-treated #36 knotted nylon cage net with sewn reinforcement and end panel over-flap entrance

- Hardware:

  - Pre-assembled overhead cables and ground cables

  - All tensioning/anchoring & attachment hardware

  - FUSElink Overload Protection

PART 3 - EXECUTION

3.1      INSPECTION

A.	Examine the areas and conditions where equipment and systems are to be installed and notify the contractor of conditions detrimental to the proper and timely installation and completion of the work.

B.	Do not proceed with the work until unsatisfactory conditions have been corrected by the contractor in a manner acceptable and to the satisfaction of the Architect/Engineer or Owner's Representative.

3.2      INSTALLATION

A.	All athletic equipment shall be installed as recommended by the manufacturer and as indicated on the drawings.

END OF SECTION